## Collections
_name | _description | _shortName | _userType | _granularity
Systems | System Collection | sys_coll | graph_systems
System Elements | System Element Collection | sys_elem_coll | graph_system_els
Spaces | Space Items | spaces | graph_spaces
Assets | Asset Items | assets | graph_assets
Alerts | Alert Items | alerts | graph_alerts
Sensors | Sensor Items | sensors | graph_sensors | minutes

## graph_systems
system name | system id
HVAC | hvac

## graph_system_els
space_id | asset_id | system element name | system_start | system_element_id | downstream_element_id | create_order
| AHU_01 | AHU | TRUE | sys_elem_01 | sys_elem_02 | 7
|  | DUCTS |  | sys_elem_02 | sys_elem_03 | 6
GYM_01 |  | GYM |  | sys_elem_03 | sys_elem_04 | 5
| FAN_01 | FAN |  | sys_elem_04 | sys_elem_05 | 4
| DAMP_01 | DAMPER |  | sys_elem_05 | sys_elem_06 | 3
|  | DUCTS |  | sys_elem_06 | sys_elem_07 | 2
| AIRTERM_01 | AIR TERMINAL |  | sys_elem_07 |  | 1

## graph_spaces
sensor_id | asset_ids | name | space_id | level | capacity
co2_gym | DAMP_01,FAN_01,AIRTERM_01 | GYM | GYM_01 | 3rd Floor | 23

## graph_assets
sensor_id | name | location | asset_id
temp_ahu | AHU | Rooftop | AHU_01
fs_gym | Fan | Gym | FAN_01
damp_gym | Damper | Gym | DAMP_01
| Air Terminal | Gym | AIRTERM_01

## graph_alerts
sensor_id | message | level | status
co2_gym | CO2 LEVELS ABOVE RANGE | CRITICAL | ACTIVE
damp_gym | DAMPER EXCEEDING CLOSED TIME | MAJOR | INACTIVE

## graph_sensor_readings
_sourceId | _ts | reading | readingType
033c0b54-0517-413a-a2fe-a955effa5aa6 | 2023-01-02T13:00:00.000Z | 20 | temp
033c0b54-0517-413a-a2fe-a955effa5aa6 | 2023-01-02T13:05:00.000Z | 20 | temp
033c0b54-0517-413a-a2fe-a955effa5aa6 | 2023-01-02T13:10:00.000Z | 21 | temp
033c0b54-0517-413a-a2fe-a955effa5aa6 | 2023-01-02T13:15:00.000Z | 21 | temp
033c0b54-0517-413a-a2fe-a955effa5aa6 | 2023-01-02T13:20:00.000Z | 20 | temp
a31ce6bb-4588-463a-8bcd-d2dd4ca1d206 | 2023-01-02T13:00:00.000Z | 550 | co2
a31ce6bb-4588-463a-8bcd-d2dd4ca1d206 | 2023-01-02T13:05:00.000Z | 500 | co2
a31ce6bb-4588-463a-8bcd-d2dd4ca1d206 | 2023-01-02T13:10:00.000Z | 1500 | co2
a31ce6bb-4588-463a-8bcd-d2dd4ca1d206 | 2023-01-02T13:15:00.000Z | 2000 | co2
a31ce6bb-4588-463a-8bcd-d2dd4ca1d206 | 2023-01-02T13:20:00.000Z | 3000 | co2
6c3d90ed-bc0d-4334-aa7f-85bced7112f7 | 2023-01-02T13:00:00.000Z | low | fan speed
6c3d90ed-bc0d-4334-aa7f-85bced7112f7 | 2023-01-02T13:05:00.000Z | medium | fan speed
6c3d90ed-bc0d-4334-aa7f-85bced7112f7 | 2023-01-02T13:10:00.000Z | medium | fan speed
6c3d90ed-bc0d-4334-aa7f-85bced7112f7 | 2023-01-02T13:15:00.000Z | medium | fan speed
6c3d90ed-bc0d-4334-aa7f-85bced7112f7 | 2023-01-02T13:20:00.000Z | low | fan speed
b635b2bd-5224-42fe-9227-50ee254b6c7c | 2023-01-02T13:00:00.000Z | open | damper position
b635b2bd-5224-42fe-9227-50ee254b6c7c | 2023-01-02T13:05:00.000Z | open | damper position
b635b2bd-5224-42fe-9227-50ee254b6c7c | 2023-01-02T13:10:00.000Z | open | damper position
b635b2bd-5224-42fe-9227-50ee254b6c7c | 2023-01-02T13:15:00.000Z | closed | damper position
b635b2bd-5224-42fe-9227-50ee254b6c7c | 2023-01-02T13:20:00.000Z | closed | damper position

## graph_sensors
_sourceId | sensor_name | sensor_id | sensor_type | units | location
033c0b54-0517-413a-a2fe-a955effa5aa6 | ahu outbound temperature | temp_ahu | temperature | C | AHU
a31ce6bb-4588-463a-8bcd-d2dd4ca1d206 | gym co2 level | co2_gym | co2 | ppm | GYM
6c3d90ed-bc0d-4334-aa7f-85bced7112f7 | gym fan speed | fs_gym | fan speed | low/medium/high | GYM
b635b2bd-5224-42fe-9227-50ee254b6c7c | gym damper | damp_gym | damper | open/closed | GYM